METHODOLOGY OF ESTIMATION OF ORGANIC CARBON

# SOIL ORGANIC CARBON ESTIMATION BY QUANTITATIVE METHOD:

# Wet Digestion Method (Walkley and Black, 1934)

# Principle

# The organic matter (humus) in the soil gets oxidized by chromic acid (potassium dichromate and conc. sulphuric acid) utilizing the heat of dilution of sulphuric acid.  The unreacted dichromate is determined by back titration with ferrous ammonium sulphate (redox titration).

# Reagents

# 1 N potassium dichromate (49.04 g of AR grade K2Cr2O7 per litre of solution)

# 0.5 N (aprox.) ferrous ammonium sulphate (196 g of hydrated crystalline salt per litre containing 20 ml of conc. H2SO4)

# This solution is relatively more stable and convenient to work than that of

# ferrous sulphate.

# Diphenylamine indicator :  Dissolve 0.5 g diphenyl amine in a mixture of 20 ml of water and 100 ml of conc. H2SO4

# Concentrated sulphuric acid (sp.gr.1.84)

# Ortho-phosphoric acid (85%) (chemically pure).

# Procedure

# The soil is ground and passed through 0.2 mm sieve.

# Place 1.00 g. soil at the bottom of dry 500 ml conical flask (Corning /Pyrex) and add 10 ml of 1N K2Cr2O7 with pipette and swirl a little.

# The flask is kept on asbestos sheet.  Then add 20 ml of concentrated H2SO4 and swirl again two or three times.

# The flask is allowed to stand for 30 minutes preferably in darkness.

# Add 200 ml of distilled water, 10 ml of ortho-phosphoric acid and titrate the contents with ferrous ammonium sulphate solution till the colour changes from blue-violet to green.

# Simultaneously, a blank is run without soil.  If more than 7 ml of the dichromate solution is consumed, the determination must be repeated with a smaller quantity (0.25-0.50 g) of soil.

# Calculation

# 10 (B-T)	               100

# Organic carbon (%)  =          --------------- x 0.003 x  --------------

# B		               wt. of soil (g)

# Where	B  =  Volume (in ml) of ferrous ammonium sulphate

# solution required for blank titration; and

# T  =  Volume of ferrous ammonium sulphate needed for

# soil sample

# Note: High chloride content, as in case of saline soils, interferes in

# the estimation. It can be prevented by adding Silversulphate   @ 1.25% to the sulphuric acid.

# SOIL ORGANIC CARBON ESTIMATION BY QULITATIVE METHOD:

Principle:

The organic matter (humus) in the soil gets oxidized by chromic acid (potassium dichromate and conc. sulphuric acid) utilizing the heat of dilution of sulphuric acid.  The unreacted dichromate is determined by standard organic colour chart

Reagents:

# 1 N potassium dichromate (49.04 g of AR grade K2Cr2O7 per litre of solution)

# Concentrated sulphuric acid (sp.gr.1.84)

# Distilled water

Procedure:

# Take few grams of soil sample on to the 0.5 mm sieve and sieve it completely on to a clean polyethylene paper. Measure 1.0 g soil with the scoop and transfer it to a clean test tube and add 2 ml of 1 N Potassium Dichriomate reagent  using measuring cylinder followed by 2 ml of concentrated sulphuric acid using dropper teat carefully along the walls of the test tube. Mix the contents of the test tube slowly and keep aside for 15 minutes. Match the colour developed with thestandard O.C. colour chart and record the value of organic carbon content as Low, medium and High.

# Results

# Low  - orange colour – The value of O.C. will be  0.0 to 0.5% O.C.

# Medium – Brick Red – The value of O.C. will be 0.5 to 0.75%b of O.C

High – Olive Green Colour – The value of O.C. will be >0.75% of O.C.